August 2018/HSN

Reviewer Form - Validation of Alternative Microbiological Method

| Date |  |
| --- | --- |
| Reviewer (name and e-mail) |  |
| Method (name of the alternative method) |  |
| Reference Method |  |
| Applicant |  |
| Expert Laboratory |  |
| Date/ Reference to the lab report |  |

| Documents for review | Principle of the methods |
| --- | --- |
| Application | Paired study |
| Package insert | Unpaired study |
| Validation Plan |  |
| Comparison Study Report | Protocol |
| ILS Report Extension | ISO 16140-2 / NordVal Protocol No.1 Other protocol |

| Quantitative method | Requirements met? Yes ¦ No | Comments |
| --- | --- | --- |
| Relative trueness - Comparison study Matrix Requirements: For a broad range of foods: 5 categories 3 types each category 5 samples each type Evaluation: Blandt-Altman plot Are the calculations and the results OK? Requirements: No more than 1 in 20 data should be outside the limits |  |  |
| Accuracy Profile - Comparison study Matrix Requirements: For a broad range of foods: 5 categories 1 type each category 6 samples each type whereof 2 low, 2 intermediate and 2 high levels 5 replicates from 5 different test portions of the same sample Evaluation: Are the calculations and the results OK? Requirements: Results should be between AL |  |  |
| LOQ – Limit of Quantification Is LOQ determined? |  |  |
| Selectivity Study – if relevant Inclusivity: 50 pure target microorg. Exclusivity: 30 pure non-target |  |  |
| Interlaboratory Study (ILS) Requirements: 8 valid data set, 8 analysts, 4 locations (max 3 set from one location) One relevant food matrix, 3 levels + neg, 2 replicates Evaluation: Are the calculations and the results OK? Requirements: Results should be between AL |  |  |

| Do you recommend approving of the | Yes ¦ No | Comments |
| --- | --- | --- |
| Application |  |  |
| Package insert |  |  |
| Validation Plan |  |  |
| Comparison Study Report |  |  |
| ILS Report |  |  |
| Extension |  |  |