## Bland-altman Plot
Relative trueness study |  |  | - Bland-Altman plot
Broad range of foods - 5 categories; 3 types per category, 5 replicates= 75 samples
In this example: - 2 categories only; 3 types per category, 5 replicates = 30 samples
Results are given in log cfu/g
Category | Type | Replicates | Sample No. | Ref method | Alt method | Mean | Difference
1 | 1 | 1 | 1 | 2 | 2.3802 | 2.1901 | 0.38021
|  | 2 | 2 | 3.1761 | 3.0414 | 3.1087 | -0.1347
|  | 3 | 3 | 3.0414 | 3.1461 | 3.0938 | 0.10474
|  | 4 | 4 | 3.6628 | 3.7324 | 3.6976 | 0.069636
|  | 5 | 5 | 3.5798 | 3.4771 | 3.5285 | -0.10266
| 2 | 1 | 6 | 3.7634 | 3.8388 | 3.8011 | 0.075421
|  | 2 | 7 | 5.0969 | 5.1703 | 5.1336 | 0.073352
|  | 3 | 8 | 4.6812 | 4.7782 | 4.7297 | 0.09691
|  | 4 | 9 | 4.7404 | 4.8325 | 4.7864 | 0.092146
|  | 5 | 10 | 4.8808 | 4.9395 | 4.9102 | 0.058706
| 3 | 1 | 11 | 3.4771 | 3.2553 | 3.3662 | -0.22185
|  | 2 | 12 | 2.9031 | 3.1139 | 3.0085 | 0.21085
|  | 3 | 13 | 4.2304 | 4.2041 | 4.2173 | -0.026329
|  | 4 | 14 | 3.8325 | 3.8976 | 3.8651 | 0.065118
|  | 5 | 15 | 4.3802 | 4.5441 | 4.4621 | 0.16386
Average of difference for category 1 | [6 empty] | 0.06036
Standard deviation of the difference for category 1 | [6 empty] | 0.14449
Category | Type | Replicates | Sample No. | Ref method | Alt method | Mean | Difference
2 | 1 | 1 | 1 | 3.0414 | 3.0934 | 3.0674 | 0.052029
|  | 2 | 2 | 3.8751 | 3.959 | 3.9171 | 0.08398
|  | 3 | 3 | 3.959 | 4.2878 | 4.1234 | 0.32876
|  | 4 | 4 | 4.1644 | 4.2648 | 4.2146 | 0.10046
|  | 5 | 5 | 4.3766 | 4.3909 | 4.3838 | 0.014358
| 2 | 1 | 6 | 4.1987 | 4.1732 | 4.1859 | -0.025471
|  | 2 | 7 | 4.1761 | 4.2553 | 4.2157 | 0.079181
|  | 3 | 8 | 5.6212 | 5.7076 | 5.6644 | 0.086394
|  | 4 | 9 | 3.699 | 3.301 | 3.5 | -0.39794
|  | 5 | 10 | 5.2455 | 5.2227 | 5.2341 | -0.022796
| 3 | 1 | 11 | 4.1139 | 4.2553 | 4.1846 | 0.14133
|  | 2 | 12 | 3.2553 | 3.4624 | 3.3588 | 0.20713
|  | 3 | 13 | 4.2041 | 4.243 | 4.2236 | 0.038918
|  | 4 | 14 | 2.8325 | 2.7782 | 2.8053 | -0.054358
|  | 5 | 15 | 3.3802 | 3.4624 | 3.4213 | 0.082187
Average of difference for category 2 | [6 empty] | 0.047611
Standard deviation of the difference for category 2 | [6 empty] | 0.15618
Average of the difference for all categories, D | [6 empty] | 0.053986
Standard deviation of the difference for all categories, SD | [6 empty] | 0.14797
Upper limit, 95% confidence, = D + 1.96SD | [6 empty] | 0.344
Lower limit, 95% confidence = D - 1.96SD | [6 empty] | -0.244
For the plot | Upper limit | lower limit
0 | 0.34 | -0.24
2 | 0.34 | -0.24
3 | 0.34 | -0.24
4 | 0.34 | -0.24
5 | 0.34 | -0.24
6 | 0.34 | -0.24
7 | 0.34 | -0.24

## Accuracy Profile MCS
Accuracy Profile: Method Comparison Stydy (MCS)
For a broad range of foods: 5 categories, 1 type each category, 6 levels, 5 replicates analysed with both the reference and the alternative method = 150 samples
In this example: 1 categories, 1 type each category, 6 levels, 5 replicates = 30 samples
Level | Replicates Reference Method | [6 empty] | Replicates Alternative Method
| 1 | 2 | 3 | 4 | 5 | Median | SD | 1 | 2 | 3 | 4 | 5 | Median | SD | Bias
1 low | 2 | 2.0414 | 2.4771 | 2.3424 | <2 | 2.18 | 0.58703 | 2.2553 | 2.1761 | 2 | 2.4624 | 2.5441 | 2.2553 | 0.21939 | 0.075273
2 low | 2.4232 | 2.3617 | 2.5563 | 2.415 | 2.5911 | 2.4232 | 0.098793 | 2.301 | 2.3979 | 2.3424 | 2.2788 | 2.6532 | 2.3424 | 0.15148 | -0.080823
3 intermed | 3.5441 | 3.699 | 3.6284 | 3.6902 | 3.6902 | 3.6902 | 0.065798 | 3.7076 | 3.6232 | 3.7482 | 3.6532 | 3.7634 | 3.7076 | 0.060163 | 0.017374
4 intermed | 3.6532 | 3.4314 | 3.6902 | 3.6128 | 3.7076 | 3.6532 | 0.11105 | 3.6128 | 3.2553 | 3.6128 | 3.3222 | 3.4314 | 3.4314 | 0.16397 | -0.22185
5 high | 5.3979 | 5.4472 | 5.2304 | 5.415 | 5.2405 | 5.3979 | 0.10266 | 5.4997 | 5.5315 | 5.4646 | 5.4771 | 5.4771 | 5.4771 | 0.026407 | 0.079181
6 high | 5.415 | 5.317 | 5.5911 | 5.3979 | 5.5152 | 5.415 | 0.10693 | 5.2788 | 5.2989 | 5.4586 | 5.3617 | 5.3979 | 5.3617 | 0.073329 | -0.053246
[5 empty] | Combined standard deviation |  | 0.25593 |  |  |  | Combined standard deviation, s alt |  |  | 0.13395
Limits, using Student- t distribution for a chosen probability (80% is chosen, and the degrees of freedom is 24)
The Upper and lower limit for each replicate are B ±T·salt √ (1+1/n)
T(0,20;24) | 1.7109 |  | 0.25114
Level | Ref median | Bias | Upper level | Lower level | Upper AL | Lower AL
1 low | 2.18 | 0.075273 | 0.32632 | -0.17578 | 0.5 | -0.5
2 low | 2.4232 | -0.080823 | 0.17023 | -0.33187 | 0.5 | -0.5
3 intermed | 3.6902 | 0.017374 | 0.26842 | -0.23367 | 0.5 | -0.5
4 intermed | 3.6532 | -0.22185 | 0.0292 | -0.4729 | 0.5 | -0.5
5 high | 5.3979 | 0.079181 | 0.33023 | -0.17187 | 0.5 | -0.5
6 high | 5.415 | -0.053246 | 0.1978 | -0.30429 | 0.5 | -0.5

## Accuracy Profile ILS
Accuracy Profile: Interlaboratory Study (ILS)
The results are given in log10 cfu/g
Low Level
Lab | Reference |  |  |  |  | Alternative
| A | B | (A-B)2 | Mean, Ref, X | X2 | A | B | (A-B)2 | Mean, Alt, y | y2
1 | 2.48 | 2.41 | 0.0049 | 2.445 | 5.978 | 2.08 | 2.34 | 0.0676 | 2.21 | 4.8841
2 | 2.4 | 2.32 | 0.0064 | 2.36 | 5.5696 | 2.41 | 2 | 0.1681 | 2.205 | 4.862
3 | 2.26 | 2.2 | 0.0036 | 2.23 | 4.9729 | 2.04 | 2.18 | 0.0196 | 2.11 | 4.4521
4 | 2.18 | 2.15 | 0.0009 | 2.165 | 4.6872 | 2.34 | 2.32 | 0.0004 | 2.33 | 5.4289
5 | 2.28 | 2.21 | 0.0049 | 2.245 | 5.04 | 2.18 | 2.11 | 0.0049 | 2.145 | 4.601
6 | 2.15 | 2.28 | 0.0169 | 2.215 | 4.9062 | 2.2 | 2.15 | 0.0025 | 2.175 | 4.7306
7 | 2.26 | 2.38 | 0.0144 | 2.32 | 5.3824 | 2.2 | 2.2 | 0 | 2.2 | 4.84
8 | 2.11 | 2.18 | 0.0049 | 2.145 | 4.601 | 2.15 | 2.34 | 0.0361 | 2.245 | 5.04
Sum |  |  | 0.0569 | 18.125 | 41.1374 |  |  | 0.2992 | 17.62 | 38.8388
Mean | 2.2656 |  |  |  |  | 2.2025
Sr | 0.13675 |  |  |  |  | 0.13675
sL^2 | 0.0010746 |  |  |  |  | -0.0049571
SR | 0.14062 |  |  |  |  | 0.13675
Bias (y-x) | [5 empty] | -0.063125
y ± k s | k=1,4 t.test T(0,2;7) | 1.4149
U= y+ks | [5 empty] | 2.396
L=y-ks | [5 empty] | 2.009
U-x | [5 empty] | 0.13036
L-x | [5 empty] | -0.25661
Medium Level
Lab | Reference |  |  |  |  | Alternative
| A | B | (A-B)2 | Mean, Ref, X | X2 | A | B | (A-B)2 | Mean, Alt, y | y2
1 | 3.26 | 3.28 | 0.0004 | 3.27 | 10.6929 | 3.3 | 3.46 | 0.0256 | 3.38 | 11.4244
2 | 3.08 | 3.11 | 0.0009 | 3.095 | 9.579 | 3.32 | 3.11 | 0.0441 | 3.215 | 10.3362
3 | 3.23 | 3.18 | 0.0025 | 3.205 | 10.272 | 3.32 | 3.08 | 0.0576 | 3.2 | 10.24
4 | 3.15 | 3.11 | 0.0016 | 3.13 | 9.7969 | 3.18 | 3.38 | 0.04 | 3.28 | 10.7584
5 | 3.23 | 3.26 | 0.0009 | 3.245 | 10.53 | 3.11 | 3.2 | 0.0081 | 3.155 | 9.954
6 | 3.28 | 3.23 | 0.0025 | 3.255 | 10.595 | 3.32 | 3.26 | 0.0036 | 3.29 | 10.8241
7 | 3.36 | 3.41 | 0.0025 | 3.385 | 11.4582 | 3.32 | 3.3 | 0.0004 | 3.31 | 10.9561
8 | 3.08 | 3.11 | 0.0009 | 3.095 | 9.579 | 3.34 | 3.15 | 0.0361 | 3.245 | 10.53
Sum |  |  | 0.0122 | 25.68 | 82.5032 |  |  | 0.2155 | 26.075 | 85.0233
Mean | 3.21 |  |  |  |  | 3.2594
Sr | 0.027613 |  |  |  |  | 0.11605
sL^2 | 0.0096688 |  |  |  |  | -0.0017241 | if < 0, then omitted
SR | 0.10213 |  |  |  |  | 0.11605
Bias | [5 empty] | 0.049375
y ± k s | k=1,4 t.test T(0,2;7) | 1.4149
U | [5 empty] | 3.4236
L | [5 empty] | 3.0952
U-x | [5 empty] | 0.21358
L-x | [5 empty] | -0.11483
High Level
Lab | Reference |  |  |  |  | Alternative
| A | B | (A-B)2 | Mean, Ref, X | X2 | A | B | (A-B)2 | Mean, Alt, y | y2
1 | 4.32 | 4.18 | 0.0196 | 4.25 | 18.0625 | 4.23 | 4.43 | 0.04 | 4.33 | 18.7489
2 | 4.38 | 4.2 | 0.0324 | 4.29 | 18.4041 | 4.28 | 4.36 | 0.0064 | 4.32 | 18.6624
3 | 4.18 | 4.15 | 0.0009 | 4.165 | 17.3472 | 4.32 | 4.04 | 0.0784 | 4.18 | 17.4724
4 | 4.11 | 4.11 | 0 | 4.11 | 16.8921 | 4.15 | 4.15 | 0 | 4.15 | 17.2225
5 | 4.18 | 4.34 | 0.0256 | 4.26 | 18.1476 | 4.15 | 4.23 | 0.0064 | 4.19 | 17.5561
6 | 4.36 | 4.3 | 0.0036 | 4.33 | 18.7489 | 4.32 | 4.28 | 0.0016 | 4.3 | 18.49
7 | 4.08 | 4.18 | 0.01 | 4.13 | 17.0569 | 4.11 | 4.08 | 0.0009 | 4.095 | 16.769
8 | 4.11 | 4.08 | 0.0009 | 4.095 | 16.769 | 4.26 | 4.3 | 0.0016 | 4.28 | 18.3184
sum |  |  | 0.093 | 33.63 | 141.4284 |  |  | 0.1353 | 33.845 | 143.2397
Mean | 4.2037 |  |  |  |  | 4.2306
Sr | 0.07624 |  |  |  |  | 0.091958
sL2 | 0.0051277 |  |  |  |  | 0.0035179
SR | 0.1046 |  |  |  |  | 0.10943
Bias | [5 empty] | 0.026875
y ± k s | k=1,4 t.test T(0,2;7) | 1.4149
U | [5 empty] | 4.3855
L | [5 empty] | 4.0758
U-x | [5 empty] | 0.1817
L-x | [5 empty] | -0.12795
Summary of the results
Levels | Ref method | Alt. Method |  | Bias | U-x | L-x | AL 0,5 | AL -0,5
1 | 2.27 | 2.2 |  | -0.06 | 0.13 | -0.25 | 0.5 | -0.5
2 | 3.21 | 3.26 |  | 0.05 | 0.21 | -0.11 | 0.5 | -0.5
3 | 4.2 | 4.23 |  | 0.03 | 0.18 | -0.13 | 0.5 | -0.5